## Slide 1
    “Leaves other reactor designs in the dust!”
    Based on the Energy Multiplier Module by GA
Depleted Uranium Soaring Temperature Reactor (DUSTR)
Texas A&M University
Mid-Semester Design Presentation (2)
Landon Brockmeyer
Mason Childs
Daniel Holladay
Jacob Landman
Anas Mohammad

## Slide 2: Version 1 Core

## Slide 3: Core Versions
Version | Axial Layers between LEU | Depleted Uranium Assemblies | LEU Assemblies | LEU Enrichment (%) | Plates per Assembly
1 | 5 | 231 | 42 | 13 | 29
2 | 7 | 215 | 58 | 13 | 29
3 | 5 | 231 | 42 | 20 | 29
4 | 3 | 239 | 34 | 20 | 29
6 | 7 | 215 | 58 | 13 | 27

## Slide 4: Version 2 / Version 3
Additional LEU assemblies
Higher Enriched LEU

## Slide 5: Version 4 / Version 6
Moved LEU assemblies
Altered Clad Thickness
27 plate/assm

## Slide 6: Version 6 keff = 1.04127 ± 0.00007
Chart: Energy (MeV)
| 8.4599999999999997E-10 | 2.5494999999999999E-9 | 5.1339999999999998E-9 | 1.0340500000000001E-8 | 2.082E-8 | 4.1925E-8 | 8.4415000000000005E-8 | 1.7000000000000001E-7 | 3.4234999999999999E-7 | 6.8945000000000002E-7 | 1.3882000000000001E-6 | 2.7954999999999997E-6 | 5.6300000000000003E-6 | 1.1337E-5 | 2.283E-5 | 4.5974999999999999E-5 | 9.256999999999999E-5 | 1.8645000000000001E-4 | 3.7544999999999999E-4 | 7.5584999999999997E-4 | 1.5225E-3 | 3.0660000000000001E-3 | 6.1739999999999998E-3 | 1.2435499999999999E-2 | 2.504E-2 | 5.0419999999999993E-2 | 0.10153999999999999 | 0.20444999999999999 | 0.41170000000000001 | 0.82910000000000006 | 1.6695 | 2.8650000000000002 | 4.2575000000000003 | 5.9965000000000002 | 8.4885000000000002 | 11 | 13 | 15 | 17 | 19
Depleted (0, 0, 0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 7.3286e-08 | 1.1734e-07 | 3.2262e-07 | 4.7381e-07 | 8.2677e-07 | 1.3776e-06 | 1.7663e-06 | 2.2228e-06 | 3.3836e-06 | 3.5044e-06 | 3.3909e-06 | 2.4819e-06 | 1.8383e-06 | 1.2293e-06 | 2.8757e-07 | 1.5267e-07 | 3.6334e-08 | 4.063e-08 | 2.1077e-08 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Depleted (42.4, 0, 0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 3.4231e-09 | 6.4522e-08 | 3.578e-07 | 6.9152e-07 | 1.5085e-06 | 2.6859e-06 | 4.5507e-06 | 6.3781e-06 | 8.0569e-06 | 8.9734e-06 | 8.5352e-06 | 6.5701e-06 | 3.9178e-06 | 1.8029e-06 | 8.6488e-07 | 4.5394e-07 | 1.2306e-07 | 5.0658e-09 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Depleted (84.4, 0, 0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 6.9854e-09 | 1e-15 | 9.7371e-09 | 5.4037e-08 | 5.8759e-08 | 9.6778e-08 | 1.8337e-07 | 3.5743e-07 | 5.3802e-07 | 6.4901e-07 | 6.3927e-07 | 8.1561e-07 | 8.526e-07 | 5.185e-07 | 5.0358e-07 | 1.6477e-07 | 4.9671e-08 | 5.9431e-08 | 2.8096e-08 | 2.5871e-09 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Enriched (0, 0, 40.0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 2.3102e-09 | 1e-15 | 1.8733e-08 | 7.1257e-08 | 1.6362e-07 | 2.7553e-07 | 5.9434e-07 | 1.2022e-06 | 1.7773e-06 | 2.175e-06 | 3.1723e-06 | 3.2249e-06 | 3.6092e-06 | 2.8998e-06 | 2.2934e-06 | 1.3222e-06 | 5.667e-07 | 1.491e-07 | 1.0948e-07 | 4.3276e-08 | 5.8165e-09 | 9.4293e-09 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Depleted (0, 0, 80.0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 2.5189e-08 | 2.6817e-08 | 3.478e-08 | 7.747e-08 | 1.8761e-07 | 3.3824e-07 | 5.5265e-07 | 7.7477e-07 | 9.6023e-07 | 1.2368e-06 | 1.2799e-06 | 9.407e-07 | 9.496e-07 | 4.8598e-07 | 2.7098e-07 | 1.1083e-07 | 5.3515e-08 | 5.6558e-08 | 3.1836e-09 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Depleted (0, 0, 120.0) | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 9.2657e-09 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 5.9197e-09 | 1e-15 | 4.5343e-09 | 1e-15 | 1e-15 | 7.9657e-09 | 9.348e-09 | 2.0332e-08 | 2.3549e-08 | 2.5928e-08 | 3.914e-08 | 3.8999e-08 | 5.8551e-09 | 2.1729e-08 | 1.4221e-08 | 2.1759e-08 | 1.0968e-08 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15 | 1e-15
Fission Fractions
(0.625 ev - 100 kev): 43.01% (>100 kev): 56.42%

## Slide 7: Core Criticality

## Slide 8: IAEA Significant Quantities

## Slide 9: Plutonium Quantities (depleted uranium)

## Slide 10: Plutonium SQ’s are somewhat high
How many elements do you need for 1 SQ?

## Slide 11: Uranium Quantities (LEU)

## Slide 12: Uranium SQ are relatively small

## Slide 13: What’s next?
Perform analysis on version 6 of our core
  Currently running a depletion simulation on cluster
Run a depletion simulation using smaller time intervals
  Currently using 1 year intervals, which is pretty large
Possibly look into the activities of the burned fuel

## Slide 14: Core Geometry
Fuel Plates
  Thermally Decouple Subchannels
  Higher Accident Tolerance
  Equal, Consistent Cooling
  Higher Surface Area to Fuel Mass
  Flat Temperature Gradients
He Coolant
  Hot Channels Naturally Cool Better
  Non-Corrosive

## Slide 15: Core TH Specs
Final Channel Dimensions
  Fuel Width: 1 cm
  Clad Thickness: 1.1 mm
  Channel Thickness: 3.5 mm
  Fuel/Coolant Ratio: 2.857
Core Specs
  Pressure: 15 MPa
  Pressure Drop: ~1 MPa
  Single Channel Mass Flow Rate: 0.2 kg/s
  Power: 623 MWth
Chart: Distance From Fuel Center (cm)
| 0 | 0.5 | 0.503 | 0.61 | 0.78500000000000003
0 cm | 925.8503 | 897.5957 | 887.7193 | 860.2193 | 851.042
100 cm | 1030.0635 | 1001.9221 | 992.8215 | 965.3215 | 956.2795
200 cm | 1133.3738 | 1105.4462 | 1096.936 | 1069.436 | 1060.4751
300 cm | 1235.59 | 1207.9369 | 1199.933 | 1172.433 | 1163.6287
Fuel
Clad
He

## Slide 16: Plate Surface
Surface Design Impacts Coolant Mixing
Flat
Ribbed (1mm)
Ribbed (0.5mm)
Dimpled (0.5mm)

## Slide 17: Thermodynamic Analysis
3 loops
Loop 1 radioactive
Loop 2,3 non-radioactive
Industrial applications and steam turbine on the ground (maintenance and access).
Limit the access for the underground (loop 1)
1
2
3
underground container line

## Slide 18: Gas Cycle
What wwe known?
Efficiency

## Slide 19: Gas Cycle
Recuperator to recover the waste heat
Precooler to be connected to the SG
Pressures: P1=15MPa and P4=6.15MPa
Temperatures
Mass flow
Efficiency of GT and Compressor ~ .9%

## Slide 20: Why this reactor?
Secure ( the number of people who access underground ‘core area’ are limited).
Easy for maintenance while the reactor is working.
Not just the power!
1
2
3
underground container line

## Slide 21: What is next?
Design and calculate the SG
Choses the industrial applications
Combine all the cycles